NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** Czech Republic  **If applicable, name of local government involved (Article 3.2 and 7.2):** |
| **2.** | **Agency responsible:** Czech Metrology Institute  **Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:**  Czech Office for Standards Metrology and Testing  WTO/TBT Enquiry Point  P. O. Box 49  Biskupsky dvur 1148/5  110 00 Prague 1-Czech Republic  Telephone: (+420) 221 802 212  Telefax: (+420) 221 802 440  E-mail: [wto.tbt@unmz.cz](mailto:wto.tbt@unmz.cz) |
| **3.** | **Notified under** **Article 2.9.2 [X], 2.10.1 [****], 5.6.2 [****], 5.7.1 [****], other:** |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Instruments and systems measuring the flow volume of liquids other than water or liquefied gases - dispensers of aqueous urea solution – AdBlue; Measurement of fluid flow (ICS 17.120). |
| **5.** | **Title, number of pages and language(s) of the notified document:** Draft General Measure No 0111-OOP-C082-17 laying down the metrological and technical requirements for legally controlled measuring instruments, including testing methods for type approval and verification of the following legally controlled measuring instruments: instruments and systems measuring the flow volume of liquids other than water or liquefied gases - dispensers of aqueous urea solution - AdBlue (11 page(s), in Czech; 12 page(s), in English) |
| **6.** | **Description of content:**  Instruments and systems measuring the flow volume of liquids other than water or liquefied gases - dispensers of aqueous urea solution - AdBlue, are placed on the market and put into use in the Czech Republic in accordance with Directive 2014/32/EU (the Measuring Instruments Directive - MID). Once they have been put into use, they become subject to national metrological regulation - verification at specified intervals. This notified legislation only applies to the verification of measuring instruments that have already been put into use. It does not concern placing them on the market or putting them into use. The requirements imposed on these measuring instruments when in use are fully compatible with the MID and are also based on OIML Recommendation 117. Some parameters listed in this document are properties of the measuring instruments when they are new; they are listed herein only because the preservation of these properties when the instruments are in use is subject to visual or other checks during verification. |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Instruments and systems measuring the flow volume of liquids other than water or liquefied gases - dispensers of aqueous urea solution - AdBlue, are legally controlled measuring instruments in the Czech Republic that are subject to mandatory type approval and verification. |
| **8.** | **Relevant documents:**  Reference(s) to basic text(s): - Act No 505/1990 on metrology  - § 171 et seq. of Act No 500/2004, the Administrative Procedure Code, as amended |
| **9.** | **Proposed date of adoption:** October 2018  **Proposed date of entry into force:** October 2018 |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****X] or address, telephone and fax numbers and email and website addresses, if available, of other body:**  If there will be a problem with downloading document, you can contact us:  Czech Office for Standards Metrology and Testing  WTO/TBT Enquiry Point  P. O. Box 49  Biskupsky dvur 1148/5  110 00 Prague 1-Czech Republic  Telephone: (+420) 221 802 212  Telefax: (+420) 221 802 440  E-mail: [wto.tbt@unmz.cz](mailto:wto.tbt@unmz.cz)  <https://members.wto.org/crnattachments/2018/TBT/CZE/18_4130_00_e.pdf>  <https://members.wto.org/crnattachments/2018/TBT/CZE/18_4130_00_x.pdf> |