NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** India **If applicable, name of local government involved (Article 3.2 and 7.2):**  |
| **2.** | **Agency responsible:** Department of Heavy Industry, Ministry of Heavy Industries & Public Enterprises**Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:** Shri Pravin L. AgrawalJoint Secretary (HEI division)Department of Heavy IndustryMinistry of Heavy Industries & Public EnterprisesUdyog Bhawan, New Delhi-110011Phone No.: +91-11-23063733E-mail: pravin.agrawal@nic.inWebsite: <https://dhi.nic.in/> |
| **3.** | **Notified under Article 2.9.2 [X], 2.10.1 [****], 5.6.2 [X], 5.7.1 [****], other:** |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Product covered under: HS code (National tariff lines): 85042100, 85042200, 85043200, 85043300, 85043400.; Indian Standards: IS 1180:2014 Part-I. |
| **5.** | **Title, number of pages and language(s) of the notified document:** Electrical Transformers (Quality Control) Order, 2018 (Languages: English and Hindi)   |
| **6.** | **Description of content:** Indoor/ Outdoor Type Oil Immersed Distribution Transformers up to and including 33 kV as per the following ratings:1. Three phase ratings up to and including 200 kVA, both non-sealed and sealed type
2. Three phase ratings higher than 200 kVA up to and including 2500 kVA, both non-sealed and sealed type
3. Single phase ratings up to and including 100 kVA sealed type
 |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** * To reduce the failure of distribution transformer
* To increase standard and quality of transformers.
* To prevent manufacturing and sale of substandard transforms.
 |
| **8.** | **Relevant documents:** Electrical Transformers (Quality Control) Order, 2018.The proposed Order can be downloaded from the Web Site:<https://dhi.nic.in/writereaddata/UploadFile/Revised%20Draft%20of%20ETQCO2018.pdf>  |
| **9.** | **Proposed date of adoption:** Yet to be decided**Proposed date of entry into force:** Yet to be decided |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [ ]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:** Bureau of Indian Standards, Manak Bhawan 9, Bahadur Shah Zafar Marg, New Delhi- 110002, Tel: +91 11 23230131, 23233375, 23239402 (10 lines)Fax : +91 11 23234062, 23239399 Email: info@bis.org.in Website: [www.bis.org.in](http://www.bis.org.in) The proposed Order can be downloaded from the Web Site:<https://dhi.nic.in/writereaddata/UploadFile/Revised%20Draft%20of%20ETQCO2018.pdf> |